S1200 Data Transmission Analyzer

Overview

S1200 Data Transmission Analyzer, the latest tester developed by Seiko Fire, is the necessary tools for daily maintenance, troubleshooting and equipment installation and maintenance. It can be for 2M on-line monitoring as well as test from 50b/s to 2048kb/s with supported interfaces like G.703, V.24/RS232, V.35, V.36/RS449, X.21, EIA－530/530A and RS485/RS422. It also supports 2M jitter TX/RX test, 2M synchronous clock test and frame relay test.

The S1200 is configured with large screen TFT color LCD with backlighting and built-in rechargeable Li battery for more than 8 hours’ working without external power supply. S1200 also supports RJ45 network interface and complete TCP/IP protocol with on-line upgrading.

This product is suitable for high-end applications like operators’ 2M equipment maintenance and overhaul and frame relay test of telecom VIP.

Functions

G.703 E1 in-service / out of service Test

Dual E1 ports monitoring

Various alarming types and BER types insert

Balance interface (75Ohm) / unbalanced interfaces(120Ohm)

ITU-T G.821/G.826/M2100/2101 BER Analysis

Slips analysis

Clock slip

Clock frequency offset test

NX64K Test

Frame Setting/ Analysis

PCM / time slot detection

Time slot data display

Histogram display

Voice monitoring

Auto test

Loopback delay test

Switching time test

Audio Test (Optional)

Pulse mask measurement (optional)

E1 jitter Rx/Tx test (Optional)

E1 synchronous clock test (Optional)

V interface test (optional)

V.24/RS232, V.35, V.36/RS449, EIA-530/530A, X.21 interface BER tests

Various working mode setting

ITU BER index analysis

PING test

IP address setting

Ethernet connectivity test

Frame Relay Test (Optional)

Support E1, V.35 Port

Support PPP/HDLC Protocol

Features

Color TFT LCD with touch screen

Dual E1 Test

2M synchronous clock input/output

2M clock jitter Rx/Tx test

2M PING test

Frame relay test

PC can perform remote control for tester through Ethernet

Large capacity Li battery guarantees more than 8 hours’ working without external

Power supply

Large capacity digital storage

Applications

Out of service loopback Test

Out of service end-to-end Test

In-service Test

Throughput Test

V Interface Test (Optional)

Audio Test (Optional)

E1 Signal Template (Optional)

Jitter Test (Optional)

Frame Relay Test (Optional)

Specifications

| General Specifications |  |  |
| --- | --- | --- |
| Size |  | 210×110×60（mm） |
| Weight |  | 1.2kg |
| Display screen |  | Color 4.3”LED，480×272，LED BL |
| Operation mode |  | Touch screen |
| Management interface |  | RJ45(10M/100M)、USB |
| Power supply |  | AC adapter:100V/240V，50/60H/z |
| Battery |  | Rechargeable 4400mAh Li battery |
| Endurance time |  | 8 hours |
| Operation environment | Operation Temperature | 0℃~+50℃ |
|  | Storage Temperature | -20℃~+70℃ |
|  | Operation Humidity | 10% ~ 90% |
|  | Storage Humidity | 5% ~ 95% |

Ordering Configurations

Standard Configurations & Accessories

| Host | Accessories | Quantity |
| --- | --- | --- |
| S1200 Data Transmission Analyzer | Li Battery | 1 |
|  | User manual | 1 |
|  | 0.5m BNC self-test Cable | 1 |
|  | 2.5m BNC test Cable | 1 |
|  | 2.0m Ethernet crossed Cable | 1 |
|  | 2.5m Test line of alligator clip | 1 |
|  | Power adapter (2.0A) | 1 |
|  | Instrument bag (including braces) |  |
|  | Management platform CD | 1 |
|  | L9-J Plug (75-1-1) | 1 |
|  | BNC-J Plug (75-1-1) | 1 |

Optional Configurations

| Serial No. | Function |
| --- | --- |
| 1200-01 | E1Audio Test |
| 1200-02 | E1 Eye Diagram |
| 1200-03 | T1 Interface anomaly and defect test |
| 1200-04 | T1 Eye Mask |
| 1200-05 | V Interface anomaly and defect test |
| 1200-06 | E1 Clock synchronization test |
| 1200-07 | E1Jitter Rx/Tx Test |
| 1200-08 | Frame Relay Test |