

**Visual Fault Locator S203**

It is one efficient and low-cost basic fiber test tool; it provides a visible way to find fiber faults and identify fibers in an optical network during and after installation.

It includes:

Finding the breakpoint, poor connections, bending or cracking in fiber optic cables.

Finding the faults of OTDR dead zone

End-to-end visual fiber identification

**Features**

Constant & stable output power

Low battery warning, reminds users to change the battery timely.

Long battery life (up to 40 hours with AAA batteries)

Pocket size and light weight, easy to use.

**Re-changeable ceramic tube, to avoid returning to manufacturer for this small fault.**

**Specifications**

|  |  |
| --- | --- |
| Central Wavelength | 650nm±10nm |
| Emitter Type | FP-LD |
| Output Power | 1mw or 10mw |
| Optical Connector | 2.5mm universal connectorFor 1.25mm connectors, FC-1.25mm Hybrid adaptorcan be optional on customer requests |
| Operating Model | Both CW and Pulse(2Hz) available |
| Power Supply | Two AAA alkaline batteries |
| Battery Operating Time | 650nm@1mw ≥45hours;650nm@10mw≥15hoursTest with Panasonic LR6 AAA ALKALINE battery |
| Operating Temperature | -10~+60 (℃) |
| Storage Temperature | -25~+70 (℃) |
| Dimension (mm) | 115\*45\*27 |
| Weight | 50g (without batteries) |